## Slide 1: Construction Technologies for speedy delivery of structures
Presented by:
Er. C.A. PRASAD
DIRECTOR, METEY ENGINEERING AND CONSULTANCY PVT LTD

## Slide 2: HOUSING SINCE THE START

## Slide 6
TIMBER JOIST CONSTRUCTION

## Slide 7: LOAD BEARING WALL WITH TIMBER ROOF TRUSS

## Slide 8
LOAD BEARING MASONRY CONSTRUCTION

## Slide 9: LOAD BEARING MASONRY CONSTRUCTION

## Slide 10: LOAD BEARING MASONRY CONSTRUCTION

## Slide 11: RCC FRAME - CONVENTIONAL CONSTRUCTION

## Slide 12: CAST INSITU SYSTEM

## Slide 16
PRECAST SYSTEM

## Slide 17: Issues in construction system
Conventional construction :
Labour intensive
Heavy formwork intensive type of construction
Time consuming for shuttering and deshuttering
Skilled labour diminishing day by day
Accommodation to the labour at site is a problem

## Slide 18: TIME
Time saving in construction has been happening through advancement in construction technology in Form work (Slip form and Jump form), Concrete pumping, Lifting Technology and various other Plant and Machinery related to construction field, followed by safety as prime importance
Further advancement in time saving as well as to meet the non availability of skilled labour led to CONSTRUCTION TECHNOLOGIES.

## Slide 19: Different types of construction technologies for high rise structures for speedy delivery
Shear wall / Monolithic construction using aluminum shuttering
Insulated wall panel construction using shotcreteing of concrete
Light gauge steel or cold formed steel construction
Precast/Prefabricated construction using concrete/steel
Composite construction

## Slide 20: SHEAR WALL / MONOLITHIC CONSTRUCTION USING ALUMINUM SHUTTERING
Methodology:
The elements like walls, beams and slabs made of RCC are cast together at one go by using aluminum form work. Panels of 2’(0.6m) wide X 10’(3m), floor height are connected together with connectors.
Merits:
Construction speeds can be achieved faster due to light weight of forms and less labor required for carrying and erection of the form work.
Quality of finish achieved is very good to receive painting directly without plaster.
Formwork components are durable and can be used for 100 repetitions.
5 to 7 days cycle is easily achieved in most of the constructions and construction time for overall project is dramatically reduced.

## Slide 21
Demerits:
Initial investment on formwork is higher at the rate of Rs.10,000/sqm
About 50 repetitions are easy to achieve and there after maintenance is required to be done for correctness of shape such that another 50 repetitions could be completed
No. of sets of formwork to be decided based on time of construction and the repetitions to be achieved.

## Slide 22: EWS HOUSING CONSTRUCTION IN A.P using MONOLITHIC TYPE OF CONSTRUCTION with Aluminum formwork

## Slide 26
VISAKHAPATNAM, VIZIANAGARAM AND SRIKAKULAM DISTRICTS

## Slide 37
AMARAVATHI

## Slide 49
INSULATED WALL CONSTRUCTION USING SHOTCRETE

## Slide 50: Insulated wall panel construction using shotcreteing of concrete.
Methodology:
System is conceived with insulated wall and roof panels of corrugated extruded polystyrene(EPS), which consists of zinc coated square mesh on either sides of it connected by a shear connectors
The panels are coated with concrete through shotcreting machines
Merits:
Light weight, seismic resistant, sound and thermal resistant
EPS will reduce the Air conditioning loads too

## Slide 51
Demerits:
Shotcreting means insitu work and needs to be closely monitored and inspected

## Slide 52: Images of buildings constructed at ANGUL Orissa for JSPL using EPS Panel technology:

## Slide 53: Images of buildings constructed at ANGUL Orissa for JSPL using EPS Panel technology:

## Slide 54: Images of buildings constructed at ANGUL Orissa for JSPL using EPS Panel technology:

## Slide 55: Images of buildings constructed at ANGUL Orissa for JSPL using EPS Panel technology:

## Slide 56: Images of buildings constructed at ANGUL Orissa for JSPL using EPS Panel technology:

## Slide 57: Images of buildings constructed at ANGUL Orissa for JSPL using EPS Panel technology:

## Slide 58: Images of buildings constructed at ANGUL Orissa for JSPL using EPS Panel technology:

## Slide 59: Images of buildings constructed at ANGUL Orissa for JSPL using EPS Panel technology:

## Slide 60: Images of buildings constructed at ANGUL Orissa for JSPL using EPS Panel technology:

## Slide 61: Images of buildings constructed at ANGUL Orissa for JSPL using EPS Panel technology:

## Slide 62: Images of buildings constructed at ANGUL Orissa for JSPL using EPS Panel technology:

## Slide 63: Images of buildings constructed at ANGUL Orissa for JSPL using EPS Panel technology:

## Slide 64: EWS BUILDINGS AT NTR PETA, SRIKAKULAM WITH EPS TECHNOLOGY
Presented by:
C.A Prasad
Director, METEY Engineering and Consultancy Pvt Ltd,
Hyderabad

## Slide 65: Architectural plan:

## Slide 66: Light gauge steel or cold formed steel construction

## Slide 67: Light gauge steel or cold formed steel construction.
Methodology:
Light weight cold formed steel sections for speedy low rise building construction.
Gauge thickness from 0.7-2.0mm.
These could be used in industrial townships, residential and commercial buildings, hospitals and schools etc.,
External and internal walls are to be covered with plaster boards duly putting the rock wool in between them, which will give the thermal insulation.

## Slide 68
Demerits:
Spacing of studs and joists will have an effect on internal and external planning of structure
Plaster boards are required to be fire resistant and should be durable against the external environment, thereby, its cost is prohibitive compared to conventional systems
Merits:
Light weight, Seismic resistance, Thermal and acoustic insulation. With rock wool insulation inside, Air conditioning loads will be lesser

## Slide 69: COMPOSITE CONSTRUCTION

## Slide 70: Composite construction.
Methodology:
Structural Steel columns and beams with Deck slab + Concrete or Insitu concrete with shuttering is a method of construction
Steel columns could be encased to get additional strength in addition to steel.
Merits:
Very faster construction
Concrete encasement makes the steel fire resistant and protects from corrosion/ durability

## Slide 71
Demerits:
Cost is higher by about 20 to 30% compared to RCC type of construction
Fire resistant paint to be applied to structural steel elements is very prohibitive

## Slide 76: Precast/Prefabricated construction using concrete/steel

## Slide 77: PRECAST ABROAD

## Slide 78: Buildings from Middle east

## Slide 79: Buildings from Middle east

## Slide 80: Buildings from Middle east

## Slide 81
PRECAST PROJECTS IN
INDIA

## Slide 82
Santushti Homes at Bhiwadi
250 affordable homes
G+3 Storied 3 Blocks
Load bearing Precast walls
Precast Solid Slabs (room size)
Site Based Precast Plant

## Slide 86
 | Parameter | Units | Case-1 | Case-2 | Case-3
Scale | Built up area required | mn.sft | 1 | 2 | 3
Investment | Precast plant | Rs cr | 13 | 17 | 22
 | Additional site machinery | Rs cr | 3 | 4 | 4
 | Any other major capex required | Rs cr | 2 | 3 | 4
Total |  |  | 18 | 24 | 30
Operating costs in precast | Operating cost of plant | Rs/sft |  |  | 
 | Material costs | Rs/sft |  |  | 
 | Total cost of production | Rs/sft |  |  | 
 | Transportation costs | Rs/sft |  |  | 
 | Labour costs | Rs/sft |  |  | 
 | Operating cost of onsite equipment | Rs/sft |  |  | 
 | Total cost of construction | Rs/sft | 1000 | 950 | 900
Costs in conventional construction | Material costs | Rs/sft |  |  | 
 | Operating machinery | Rs/sft |  |  | 
 | Labour costs | Rs/sft |  |  | 
 | Total cost of construction | Rs/sft | 1200 | 1200 | 1200
Labour | Skilled labour required | no. | 40 | 40 | 40
 | Unskilled labour required | no. | 20 | 20 | 20
Time | Time of construction using precast | days | 12 to 15 months | 15 to 18 months | 20 to 24 months
 | Time of construction using conventional | days | 36 months | 48 months | 60 months
 | Assumptions: |  |  |  | 
 | Unit size | 500 sft |  |  | 
 | Design | Simple |  |  | 
 | Configuration | G+4 |  |  | 
PRECAST SET UP SCALE VS COST

## Slide 87
PRECAST DEVELOPMENT
AND PRECAST SET UP OF
INDUSTRIES IN INDIA

## Slide 92: Precast Slabs

## Slide 93: Precast Beam & Girders

## Slide 94: Precast Columns

## Slide 97: PRECAST FLOORING SYSTEMS

## Slide 98: PRESTRESSED PRECAST HOLLOWCORE SLABS

## Slide 101
Cross Sectional Dimensions

## Slide 105
Prestressed composite slab

## Slide 109: PRECAST AND CAST INSITU SLABS

## Slide 110
In this type, the precast concrete plank is of minimum 50 mm thickness with integrated structural required bottom reinforcement and special steel lattice girders. After erection of the plank the slab top reinforcement is placed and in-situ concrete is pored. Following sufficient curing (final stage) the plank and the in-situ concrete jointly act as a traditional monolithic concrete slab, having same structural characteristics and quality as a regular concrete in-situ slab with the same thickness. There is no need for redesign or re-approval of the supporting and planking structure.

## Slide 111
Benefits:
100% elimination of slab formwork
100% elimination of soffit plaster work.
50 to 75% reduction of slab propping work.
50 to 75% reduction of slab reinforcement work.
50 to 60% reduction of slab concreting work.
Standard Properties;
Concrete of grades 25 to 60 MPa can be used.
Maximum length of the slab is 10 metres (upto 14 metres)
Maximum width 2.5 metres (upto 4 metres)
Minimum thickness 50 mm
Soffit surface is smooth, cast against polished steel moulds.

## Slide 113
Erection of Precast Plank
Notes: Erection of Precast Plank

## Slide 114: Slab form work is eliminated and the requirement to propping is reduced considerably

## Slide 115: The precast plank is providing an unmatched smooth and leveled soffit surface. Only the joints at every 2.5m to 4m have to be levelled with filler before final finishing. Soffit plaster work is not required

## Slide 116: Precast System for Housing
Wall-Frame System :
Gravity + Lateral Load-bearing Wall
Hollow-core Slab floor
Non-load bearing Internal Walls
Exterior façade (Non-load-bearing/ Lateral load resist)
Stairs and Lift Core

## Slide 117: PRECAST BOUNDARY WALLS

## Slide 128: PRECAST WALL PANELS

## Slide 129: WALL PANELS
Wall Panels could be precast as two types, viz.,
1) To full thickness as one panel, or
2) Two leaves as a double precast concrete panel of typically 2 x 50 – 100 mm thickness with integrated structural reinforcement and special lattice girders.
In the case of a first system, the wall panels would be cast horizontally on a flat bed made of steel mould, and after sufficient steam curing the bed is lifted to a 600 angle then is carried away by gantry girders to one end for loading on to a truck and further to precast yard or site.
This could also be cast in the vertical position with number of moulds and after sufficient curing can be lifted off and stored in a precast yard for further curing and eventual transportation to the site.

## Slide 130: Cladding panels are defined as non-load bearing architectural panels, which only fulfil an enclosing and decorative function in the façade. The combination of finish and shape contributes to the architectural expression and finished appearance of the structure.

## Slide 131: EXAMPLES IN India precast buildings

## Slide 132: WTC-WORLD TRADE CENTRE, PUNE
Built up area :16.5 Lakh Sq.Ft Total No of Floors: Basement+Podium+10 Floor

## Slide 133: BDA Project
Bangalore Development Authority (BDA) B+S+18 floor housing project Doddabanahalli Bangalore
B+S+18 FLOOR HOUSING PROJECT, DODDABANAHALLI, BANGALORE
M/s. B.G.Shirke Construction Technology Pvt Limited, Pune built the structure using Prefab technology

## Slide 134: Office Building in Hyderabad:
Stilts- 2no’s + G +4 ; 1,65,000 sft
Delivered in 4.5 months

## Slide 135: Hospital Building:
G+4 – 1,20,000 sft : Built in 4 months
Precast elements used are, viz.,
Precast Prestressed Hollow core slabs,
Prestressed beams,
Precast Retaining walls, Precast Stairs,
Precast Lift walls,
Precast Architectural elements,
Precast ducts

## Slide 136: Industrial Building in Hyderabad
Cadbury’s project- 2,20,000 sft
Composite Construction: Steel columns and Beams + Precast Hollow core slabs
Delivered in 5 months

## Slide 137: Few of the projects carried out by VME Group, Chennai

## Slide 138: D.R.D.O, CABS HANGER & OFFICES BUILDINGS, BANGALORE.

## Slide 139: NOVOTEL IBIS COMBO HOTEL, CHENNAI.

## Slide 140: KHIVRAJ MOTORS – CAR SHOWROOM, CHENNAI

## Slide 141: CHENNAI SILKS SHOWROOM, TIRUNELVELI

## Slide 142: OFFICE BUILDING – GUINDY, CHENNAI

## Slide 143: LAKESIDE, CHENNAI

## Slide 144: Few of the projects carried out by TEEMAGE, Coimbatore

## Slide 145: M/s TSM Canteen Block
Built-up Area : 13,500 Sq.Ft
Scope : Beams, Columns, Hollow core slabs, Wall panels, Solid Slabs and Staircase
Time: 38 days

## Slide 146: M/s. Rotary School, Tirupur, Tamilnadu
Duration : 28 Days
Built-up Area : 19,000 Sq.Ft
Scope : Beams, Columns, Hollow core slabs, Wall panels, Solid Slabs and Staircase

## Slide 147: M/s. SCM Silks (P) Ltd : Tirupur, Tamil Nadu
Duration : 30 Days
Built-up Area : 52,300 Sq.Ft
Scope : Beams, columns, Hollow core slabs, Wall panels and staircase

## Slide 148: M/s.Christian Medical College Vellore, Tamil Nadu
Duration : 27 Days
Built-up Area : 49,500 Sq.Ft
Scope : Beams, Columns, Hollow core slabs, Wall panels and Staircase

## Slide 149
Jindal Student Housing
Student Housing
6 storey building of 500 student housing capacity 85,000 sq. ft structure built in 2 months

## Slide 150: Project Examples- Wall Frame structure with Hollow core slabs
Student Housing

## Slide 151
NESTLE Process R&D Center

## Slide 152: Novotel Ibis Como Hotel- Chennai
Project size : 300,000 sq. ft. BUA
14 Storeyed building with 2 basement and 60 mtr height
Precast columns and beams, precast hollow core slabs, precast lift core shaft, precast staircase, precast retaining wall
Project finished in 11 months

## Slide 153: Novotel Ibis Como Hotel-Project Site snapshot

## Slide 154: Novotel Ibis Como- Complete structure

## Slide 155
Wall Frame – Execution

## Slide 156
Wall Frame – Execution

## Slide 174: For details contact.
C.A.Prasad,
Director,
Metey Engineering & consultancy Pvt. Ltd.,
2-4-216, Road 9A, Snehapuri colony,
Road 9A, New Nagole(V),
Hyderabad-500035,India
Tel: +91-9700 159 325; +91-40 2414 5925
www.metey.in ; prasad@metey.in